# SSHCZO Metadata Worksheet

|  |  |
| --- | --- |
| Data File Name | **CFSpring\_Q.csv** |
| Date Prepared | 2020-01-24 |
| Descriptive Title | Cole Farm Spring - CFsp |
| Update Frequency | Quarterly |
| Abstract | A HS 0.8 flume was installed on the spring 2019-04-01. Wing walls were constructed to help ensure water flows through the flume. A stilling well attached to the right bank side of the flume houses an Onset HOBO U20 non-vented pressure transducer measuring water depth and water temperature (°C) every 15 minutes. Data are manually downloaded monthly.  |
| InvestigatorContact Info | Dr. Susan Brantley, Professor of Geosciences, The Pennsylvania State University, 2217 Earth and Environmental Systems Institute, University Park, PA, 16802, 814.865.1619, sxb7@psu.edu. |
| Data Value Descriptions | * COL1: label = TmStamp\_UTC; Timezone = Coordinated Universal Time
* COL2: label = Stage\_cm; water level above sensor; Units = meters
* COL3: label = WaterTemp\_C; water temperature; Units = degC
* COL4: label = dischg\_m3s; discharge; Units = m3/s
* COL5: label = m3\_hr; discharge in cubic meters per hour; Units = m3/hr
 |
| Keywords | Stage, Discharge, Streamflow, water temperature, Hydrology |
| Methods | A HS 0.8 flume was installed on the spring 2019-04-01. Wing walls were constructed to help ensure water flows through the flume. A stilling well attached to the right bank side of the flume houses an Onset HOBO U20 non-vented pressure transducer measuring water depth and water temperature (°C) every 15 minutes. Data are manually downloaded monthly using HOBOWare Pro software. Continuous water level depths are calculated in the software by processing the well sensor data with barometric pressure data recorded on a separate Onset HOBO Barometric transducer. Water depths are observed and annotated in a separate file. These observed depths are used to correct the HOBO sensor data. Discharge is computed using the provided rating table for the flume and applied to the 15-minute water level data. Quality control:Data are checked by plotting data in R package and comparing to precipitation and manual discharge measurements. Bad, missing, or erroneous data values are removed or marked with -9999 which could be caused during data downloads and/or malfunctioning sensors. All negative values and stage data greater than 23 cm are screened using R and marked as -9999. The flume does collect a lot of sediment making it difficult to get smooth discharge data. Data: |
| Sites | Cole Farm, Huntingdon County, Barree Township Lat/Long DMS: 40.635087/ -77.941952; (NAD\_1983\_StatePlane\_Pennsylvania\_South\_FIPS\_3702) |
| Publications | none |
| Citation | The following acknowledgment should accompany any publication or citation of these data: Logistical support and/or data were provided by the NSF-supported Susquehanna Shale Hills Critical Zone Observatory. |
| Data Use Notes | The user of Susquehanna Shale Hills CZO data agrees to provide proper acknowledgment with each usage of the data. Citation of the name(s) of the investigator(s) responsible for the data set, in addition to the generic statement above, constitutes proper acknowledgment. Author(s) (including Susquehanna Shale Hills CZO investigators) of published material that makes use of previously unpublished Susquehanna Shale Hills CZO data agree to provide the Susquehanna Shale Hills CZO data manager with four (4) copies (preferably reprints) of that material for binding as soon as it becomes available. The user of Susquehanna Shale Hills CZO data agrees not to resell or redistribute shared data. The user of these data should be aware that, while efforts have been taken to ensure that these data are of the highest quality, there is no guarantee of perfection for the data contained herein and the possibility of errors exists. These data are defined as either public or private, such that a password may be required for access. |