## VA notes weather station
Virginia Ragged Mountain Weather Station Data
2013 Dataset DOI | doi:10.1594/IEDA/100477
Notes:
Battery power declining since September 2011; unstable battery power - not holding a charge (large fluctuations in power day-night)
Battery died 2/11/13 24:00; solar panel wires found to be not tightly connected to rechargeable battery ports, resulting in no recharge
New battery installed 4/29/13
Solar panel wires were better connected to rechargeable battery ports and turned back on, but this resulted in a loud pop and white smoke appeared; after there was no power to the datalogger
Solar panel wires were directly inserted into recharge ports on datalogger and the battery was connected directly from the datalogger power ports to the battery terminals; power was restored to datdalogger
Temperature/humidity wires reinstalled to data logger
Anemometer wires were spliced and a butt connecter was used to connect severed wires then reinstalled into datalogger
All wires recoiled and zip tied/taped tightly to weather station pole
All sensors appeared to be working properly during real-time scan
Temperature/humidity, wind speed, solar radiation data all bad between 12/11/12 - 2/11/13; no useable Eto data during this time period

## VA all data Samp
VA weather station installed 9/17/2010
| Data downloaded: | 2013-04-29 |  | (9/14/12-2/11/13) |  |  |  |  | Key:
[6 empty] | Missing data: |  |  | missing data
test data (maintenance)
data collected every 10 min instead of every 2hr
bad data
[6 empty] | Complete data: |  |  | suspect data
data download
TOA5 | CR200Series_2 | CR2xx | No_SN | CR200X.Std.00 | CZO_ETo_Soil.CR2 | 22532 | CZO_Samp
TIMESTAMP | RECORD | BattV | RH | Air_TC | Wind_SPD | Wind_SPD_Avg | Rain_mm | Rain_mm_Tot | Solar_Rad | EC | VWC | Ground_TC
TS | RN | Volts | % | Deg C | M/S | M/S | mm | mm | W/m2 | dS/m | % | Deg C
|  | Smp | Smp | Smp | Smp | Avg | Smp | Tot | Smp | Smp | Smp | Smp
2013-01-01 | 1302 | 11.4726 | -0.0091575 | -40.0412 | 0 | 0 | 0 | 0 | 690.9052 | 1144 | 0 | 3.3
2013-01-01 02:00 | 1303 | 11.4827 | -0.0091575 | -40.0412 | 0 | 0 | 0 | 0 | 685.7142 | 1167 | 0 | 3.3
2013-01-01 04:00 | 1304 | 11.4777 | -0.0030525 | -40.0473 | 0 | 0 | 0 | 0 | 693.2448 | 1144 | 0 | 3.2
2013-01-01 06:00 | 1305 | 11.4726 | 0.019841 | -40.029 | 0 | 0 | 0 | 0.254 | 691.4536 | 1144 | 0 | 3.2
2013-01-01 08:00 | 1306 | 11.4357 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 699.3132 | 1144 | 0 | 3.2
2013-01-01 10:00 | 1307 | 11.4667 | -0.015263 | -40.0031 | 0 | 0 | 0 | 0 | 684.0508 | 1144 | 0.01 | 3.2
2013-01-01 12:00 | 1308 | 11.4726 | -0.015263 | -40.029 | 0 | 0 | 0 | 0.254 | 662.0894 | 1144 | 0 | 3.2
2013-01-01 14:00 | 1309 | 11.46 | -0.0091575 | -40.0137 | 0 | 0 | 0 | 1.524 | 647.3478 | 1144 | 0 | 3.2
2013-01-01 16:00 | 1310 | 11.4458 | -0.0030525 | -40.0275 | 0 | 0 | 0 | 1.27 | 652.2921 | 1144 | 0.01 | 3.2
2013-01-01 18:00 | 1311 | 11.4491 | -0.0091575 | -40.0275 | 0 | 0 | 0 | 1.016 | 657.0445 | 1159 | 0 | 3.2
2013-01-01 20:00 | 1312 | 11.4609 | -0.0091575 | -40.0336 | 0 | 0 | 0 | 0.508 | 676.7943 | 1144 | 0 | 3.3
2013-01-01 22:00 | 1313 | 11.4676 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0.508 | 688.0812 | 1144 | 0.01 | 3.3
2013-01-02 | 1314 | 11.4491 | 0.013736 | -40.0229 | 0 | 0 | 0 | 0 | 693.318 | 1175 | 0.01 | 3.3
2013-01-02 02:00 | 1315 | 11.4617 | -0.021368 | -40.0275 | 0 | 0 | 0 | 0 | 702.6309 | 1089 | 0.01 | 3.3
2013-01-02 04:00 | 1316 | 11.4441 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 695.6667 | 1175 | 0.01 | 3.3
2013-01-02 06:00 | 1317 | 11.4432 | -0.0030525 | -40.0488 | 0 | 0 | 0 | 0 | 717.6282 | 1190 | 0 | 3.3
2013-01-02 08:00 | 1318 | 11.4592 | -0.0030525 | -40.0351 | 0 | 0 | 0 | 0 | 703.0786 | 1190 | 0.01 | 3.3
2013-01-02 10:00 | 1319 | 11.4525 | -0.0015263 | -40.0275 | 0 | 0 | 0 | 0.254 | 712.6291 | 1237 | 0.01 | 3.4
2013-01-02 12:00 | 1320 | 11.4458 | -0.0091575 | -39.9924 | 0 | 0 | 0 | 0 | 703.4808 | 1205 | 0.01 | 3.4
2013-01-02 14:00 | 1321 | 11.455 | -0.010684 | -40.0351 | 0 | 0 | 0 | 0 | 697.915 | 1205 | 0.01 | 3.4
2013-01-02 16:00 | 1322 | 11.455 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 696.9371 | 1205 | 0 | 3.4
2013-01-02 18:00 | 1323 | 11.4508 | -0.0091575 | -40.0275 | 0 | 0 | 0 | 0 | 712.0442 | 1205 | 0.01 | 3.4
2013-01-02 20:00 | 1324 | 11.4449 | -0.0030525 | -40.0214 | 0 | 0 | 0 | 0 | 723.9526 | 1205 | 0.01 | 3.4
2013-01-02 22:00 | 1325 | 11.4105 | -0.0091575 | -40.0519 | 0 | 0 | 0 | 0 | 721.4759 | 1229 | 0.01 | 3.5
2013-01-03 | 1326 | 11.4323 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 735.9981 | 1205 | 0.01 | 3.4
2013-01-03 02:00 | 1327 | 11.3836 | -0.016789 | -40.0229 | 0 | 0 | 0 | 0 | 740.6591 | 1221 | 0.01 | 3.4
2013-01-03 04:00 | 1328 | 11.429 | -0.0091575 | -40.0351 | 0 | 0 | 0 | 0 | 745.4845 | 1221 | 0.01 | 3.4
2013-01-03 06:00 | 1329 | 11.4248 | -0.077839 | -40.0229 | 0 | 0 | 0 | 0 | 748.0801 | 1205 | 0.01 | 3.4
2013-01-03 08:00 | 1330 | 11.4223 | -0.0091575 | -40.0229 | 0 | 0 | 0 | 0 | 746.042 | 1205 | 0.01 | 3.3
2013-01-03 10:00 | 1331 | 11.4248 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 745.4479 | 1205 | 0.01 | 3.3
2013-01-03 12:00 | 1332 | 11.4164 | 0.021368 | -40.1389 | 0 | 0 | 0 | 0 | 727.8276 | 1205 | 0.01 | 3.3
2013-01-03 14:00 | 1333 | 11.434 | -0.021368 | -40.0153 | 0 | 0 | 0 | 0 | 710.061 | 1334 | 0 | 3.3
2013-01-03 16:00 | 1334 | 11.4499 | -0.0091575 | -39.9924 | 0 | 0 | 0 | 0.254 | 699.6058 | 1190 | 0.01 | 3.2
2013-01-03 18:00 | 1335 | 11.4021 | 0.0045788 | -40.0153 | 0 | 0 | 0 | 0 | 714.5575 | 1190 | 0 | 3.2
2013-01-03 20:00 | 1336 | 11.4357 | -0.0091575 | -40.0107 | 0 | 0 | 0 | 0 | 727.1331 | 1190 | 0.01 | 3.2
2013-01-03 22:00 | 1337 | 11.392 | -0.015263 | -40.0076 | 0 | 0 | 0 | 0 | 721.4576 | 1190 | 0.01 | 3.2
2013-01-04 | 1338 | 11.387 | -0.0091575 | -40.1435 | 0 | 0 | 0 | 0 | 718.3228 | 1205 | 0.01 | 3.2
2013-01-04 02:00 | 1339 | 11.4013 | -0.041209 | -40.0046 | 0 | 0 | 0 | 0 | 724.5375 | 1198 | 0.01 | 3.2
2013-01-04 04:00 | 1340 | 11.3744 | -0.015263 | -40.0565 | 0 | 0 | 0 | 0 | 741.7557 | 1205 | 0 | 3.1
2013-01-04 06:00 | 1341 | 11.3954 | -0.0015263 | -40.0229 | 0 | 0 | 0 | 0 | 735.5411 | 1198 | 0 | 3.1
2013-01-04 08:00 | 1342 | 11.361 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 756.1591 | 1190 | 0 | 3.1
2013-01-04 10:00 | 1343 | 11.3752 | 0.0045788 | -40.0229 | 0 | 0 | 0 | 0 | 744.0496 | 1167 | 0 | 3
2013-01-04 12:00 | 1344 | 11.4147 | -0.0091575 | -39.9924 | 0 | 0 | 0 | 0 | 724.0258 | 1159 | 0.01 | 3
2013-01-04 14:00 | 1345 | 11.4164 | -0.010684 | -40.0305 | 0 | 0 | 0 | 0 | 694.0582 | 1167 | 0.01 | 3
2013-01-04 16:00 | 1346 | 11.4071 | -0.0030525 | -40.0153 | 0 | 0 | 0 | 0 | 712.684 | 1107 | 0.01 | 2.9
2013-01-04 18:00 | 1347 | 11.4214 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 713.2415 | 1175 | 0 | 2.9
2013-01-04 20:00 | 1348 | 11.4197 | -0.0030525 | -40.0061 | 0 | 0 | 0 | 0 | 720.5162 | 1144 | 0.01 | 2.9
2013-01-04 22:00 | 1349 | 11.4164 | -0.0015263 | -40.0275 | 0 | 0 | 0 | 0 | 727.2427 | 1175 | 0.01 | 2.8
2013-01-05 | 1350 | 11.3702 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 718.7341 | 1175 | 0.01 | 2.8
2013-01-05 02:00 | 1351 | 11.4004 | -0.054945 | -39.9985 | 0 | 0 | 0 | 0 | 731.8854 | 1334 | 0.01 | 2.8
2013-01-05 04:00 | 1352 | 11.4029 | -0.0030525 | -40.0763 | 0 | 0 | 0 | 0 | 720.4066 | 1115 | 0.01 | 2.8
2013-01-05 06:00 | 1353 | 11.4029 | 0.0045788 | -40.0168 | 0 | 0 | 0 | 0 | 729.7559 | 1175 | 0.01 | 2.8
2013-01-05 08:00 | 1354 | 11.3979 | -0.0091575 | -40.0107 | 0 | 0 | 0 | 0 | 725.3052 | 1167 | 0 | 2.7
2013-01-05 10:00 | 1355 | 11.3878 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 732.3149 | 1144 | 0 | 2.7
2013-01-05 12:00 | 1356 | 11.4071 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 693.6744 | 1144 | 0.01 | 2.7
2013-01-05 14:00 | 1357 | 11.4357 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0.508 | 678.9511 | 1144 | 0.01 | 2.6
2013-01-05 16:00 | 1358 | 11.4382 | -0.0091575 | -40.0412 | 0 | 0 | 0 | 0.762 | 656.3956 | 1144 | 0.01 | 2.6
2013-01-05 18:00 | 1359 | 11.4332 | -0.0030525 | -40.0275 | 0 | 0 | 0 | 0.254 | 659.64 | 1144 | 0.01 | 2.6
2013-01-05 20:00 | 1360 | 11.4197 | -0.0091575 | -40 | 0 | 0 | 0 | 0 | 673.3306 | 1190 | 0.01 | 2.6
2013-01-05 22:00 | 1361 | 11.4147 | -0.0015263 | -40.0153 | 0 | 0 | 0 | 0.254 | 684.5078 | 1144 | 0.01 | 2.6
2013-01-06 | 1362 | 11.4231 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 684.3616 | 1137 | 0.01 | 2.6
2013-01-06 02:00 | 1363 | 11.4315 | -0.015263 | -40.1313 | 0 | 0 | 0 | 0 | 694.0126 | 1167 | 0 | 2.6
2013-01-06 04:00 | 1364 | 11.3912 | -0.11447 | -40.0153 | 0 | 0 | 0 | 0 | 692.5869 | 1144 | 0.01 | 2.6
2013-01-06 06:00 | 1365 | 11.413 | -0.0091575 | -40.0504 | 0 | 0 | 0 | 0 | 706.0763 | 1144 | 0.01 | 2.6
2013-01-06 08:00 | 1366 | 11.3811 | -0.076313 | -40.0168 | 0 | 0 | 0 | 0 | 716.5682 | 1159 | 0.01 | 2.6
2013-01-06 10:00 | 1367 | 11.4096 | -0.0015263 | -40.0656 | 0 | 0 | 0 | 0 | 687.6882 | 1144 | 0 | 2.6
2013-01-06 12:00 | 1368 | 11.4021 | -0.015263 | -40.0168 | 0 | 0 | 0 | 0.254 | 687.4689 | 1144 | 0.01 | 2.7
2013-01-06 14:00 | 1369 | 11.4206 | -0.015263 | -39.9863 | 0 | 0 | 0 | 0 | 671.4204 | 1241 | 0.01 | 2.7
2013-01-06 16:00 | 1370 | 11.4071 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0.508 | 682.2048 | 1129 | 0.01 | 2.7
2013-01-06 18:00 | 1371 | 11.4197 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 687.5237 | 1159 | 0 | 2.7
2013-01-06 20:00 | 1372 | 11.4139 | -0.14652 | -40.0412 | 0 | 0 | 0 | 0 | 699.2036 | 1144 | 0.01 | 2.7
2013-01-06 22:00 | 1373 | 11.4147 | -0.0091575 | -40.0427 | 0 | 0 | 0 | 0 | 690.2106 | 1167 | 0.01 | 2.7
2013-01-07 | 1374 | 11.3929 | -0.04884 | -40.029 | 0 | 0 | 0 | 0 | 676.8674 | 1144 | 0.01 | 2.7
2013-01-07 02:00 | 1375 | 11.4063 | -0.015263 | -40.0351 | 0 | 0 | 0 | 0 | 666.6589 | 1144 | 0.01 | 2.7
2013-01-07 04:00 | 1376 | 11.4046 | 0.0045788 | -40.0229 | 0 | 0 | 0 | 0 | 684.2153 | 1159 | 0 | 2.7
2013-01-07 06:00 | 1377 | 11.3811 | -0.0030525 | -40.0031 | 0 | 0 | 0 | 0 | 691.9288 | 1159 | 0 | 2.8
2013-01-07 08:00 | 1378 | 11.3887 | -0.032051 | -40.0153 | 0 | 0 | 0 | 0 | 713.7532 | 1175 | 0.01 | 2.8
2013-01-07 10:00 | 1379 | 11.3752 | -0.0030525 | -40.0336 | 0 | 0 | 0 | 0 | 699.8799 | 1167 | 0.01 | 2.8
2013-01-07 12:00 | 1380 | 11.3601 | -0.0091575 | -40.1419 | 0 | 0 | 0 | 0 | 700.3734 | 1175 | 0.01 | 2.8
2013-01-07 14:00 | 1381 | 11.4088 | 0.0015263 | -40.0214 | 0 | 0 | 0 | 0 | 693.2083 | 1167 | 0.01 | 2.8
2013-01-07 16:00 | 1382 | 11.4197 | -0.0091575 | -40.0473 | 0 | 0 | 0 | 0.254 | 660.8829 | 1159 | 0.01 | 2.8
2013-01-07 18:00 | 1383 | 11.4164 | -0.016789 | -40.0412 | 0 | 0 | 0 | 0 | 674.8386 | 1167 | 0 | 2.8
2013-01-07 20:00 | 1384 | 11.4063 | -0.015263 | -40.0168 | 0 | 0 | 0 | 0 | 694.7071 | 1167 | 0.01 | 2.9
2013-01-07 22:00 | 1385 | 11.3811 | -0.0091575 | -40.0626 | 0 | 0 | 0 | 0 | 698.0704 | 1175 | 0 | 2.9
2013-01-08 | 1386 | 11.3945 | 0.019841 | -40.0275 | 0 | 0 | 0 | 0 | 687.012 | 1175 | 0 | 2.9
2013-01-08 02:00 | 1387 | 11.3845 | -0.016789 | -40.0092 | 0 | 0 | 0 | 0 | 703.563 | 1182 | 0 | 2.9
2013-01-08 04:00 | 1388 | 11.3484 | -0.0030525 | -40.0107 | 0 | 0 | 0 | 0 | 699.0209 | 1144 | 0.01 | 2.9
2013-01-08 06:00 | 1389 | 11.3475 | -0.0091575 | -40.0092 | 0 | 0 | 0 | 0 | 707.7945 | 1198 | 0 | 2.9
2013-01-08 08:00 | 1390 | 11.3517 | -0.0030525 | -40.0031 | 0 | 0 | 0 | 0 | 712.3823 | 1205 | 0.01 | 2.9
2013-01-08 10:00 | 1391 | 11.3895 | 0.013736 | -40.029 | 0 | 0 | 0 | 0 | 678.1103 | 1190 | 0.01 | 2.9
2013-01-08 12:00 | 1392 | 11.392 | -0.0091575 | -40.0076 | 0 | 0 | 0 | 0 | 636.5088 | 1175 | 0.01 | 2.9
2013-01-08 14:00 | 1393 | 11.4096 | 0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 607.2633 | 1175 | 0.01 | 2.9
2013-01-08 16:00 | 1394 | 11.4088 | -0.015263 | -40.0229 | 0 | 0 | 0 | 0 | 607.3729 | 1175 | 0.01 | 2.9
2013-01-08 18:00 | 1395 | 11.3937 | -0.10226 | -40.0153 | 0 | 0 | 0 | 0 | 620.5699 | 1167 | 0 | 2.9
2013-01-08 20:00 | 1396 | 11.4021 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 652.1824 | 1175 | 0.01 | 3
2013-01-08 22:00 | 1397 | 11.4055 | -0.0091575 | -40 | 0 | 0 | 0 | 0 | 656.7977 | 1205 | 0 | 3
2013-01-09 | 1398 | 11.3845 | -0.0091575 | -39.9908 | 0 | 0 | 0 | 0 | 657.5198 | 1205 | 0.01 | 3
2013-01-09 02:00 | 1399 | 11.387 | -0.016789 | -40.1191 | 0 | 0 | 0 | 0 | 663.9994 | 1237 | 0.01 | 3
2013-01-09 04:00 | 1400 | 11.3971 | -0.0030525 | -40.0351 | 0 | 0 | 0 | 0 | 654.9699 | 1205 | 0 | 3
2013-01-09 06:00 | 1401 | 11.4029 | -0.0030525 | -40.0168 | 0 | 0 | 0 | 0 | 662.6559 | 1237 | 0 | 3
2013-01-09 08:00 | 1402 | 11.3803 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 649.0294 | 1237 | 0.01 | 3
2013-01-09 10:00 | 1403 | 11.4038 | -0.0091575 | -40.0595 | 0 | 0 | 0 | 0 | 612.0797 | 1253 | 0 | 3
2013-01-09 12:00 | 1404 | 11.4088 | -0.025946 | -40.0229 | 0 | 0 | 0 | 0 | 582.0756 | 1261 | 0.01 | 3
2013-01-09 14:00 | 1405 | 11.4172 | 0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 561.5673 | 1429 | 0.01 | 3
2013-01-09 16:00 | 1406 | 11.4256 | -0.010684 | -39.9908 | 0 | 0 | 0 | 0 | 550.6368 | 1638 | 0.01 | 3.1
2013-01-09 18:00 | 1407 | 11.4214 | 0.0045788 | -40.032 | 0 | 0 | 0 | 0 | 566.9777 | 1706 | 0.01 | 3.2
2013-01-09 20:00 | 1408 | 11.4189 | 0.019841 | -40.0366 | 0 | 0 | 0 | 0 | 580.0558 | 1706 | 0.01 | 3.3
2013-01-09 22:00 | 1409 | 11.4155 | -0.0076313 | -40.0885 | 0 | 0 | 0 | 0 | 531.8649 | 1706 | 0.01 | 3.4
2013-01-10 | 1410 | 11.3971 | -0.039683 | -39.9985 | 0 | 0 | 0 | 0 | 592.3846 | 1638 | 0.01 | 3.6
2013-01-10 02:00 | 1411 | 11.3677 | 0.0015263 | -40.0214 | 0 | 0 | 0 | 0 | 628.1372 | 1706 | 0.01 | 3.8
2013-01-10 04:00 | 1412 | 11.3853 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 635.2749 | 1741 | 0.01 | 3.8
2013-01-10 06:00 | 1413 | 11.3769 | -0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 652.2556 | 1689 | 0.01 | 3.7
2013-01-10 08:00 | 1414 | 11.3417 | -0.0091575 | -40.0366 | 0 | 0 | 0 | 0 | 662.2356 | 1672 | 0.01 | 3.7
2013-01-10 10:00 | 1415 | 11.3845 | -0.02442 | -40.0214 | 0 | 0 | 0 | 0 | 652.4475 | 1638 | 0.01 | 3.6
2013-01-10 12:00 | 1416 | 11.3719 | -0.0015263 | -40.0214 | 0 | 0 | 0 | 0 | 630.9521 | 1571 | 0.01 | 3.6
2013-01-10 14:00 | 1417 | 11.392 | 0.006105 | -40.09 | 0 | 0 | 0 | 0 | 580.0285 | 1638 | 0.01 | 3.7
2013-01-10 16:00 | 1418 | 11.4096 | -0.0030525 | -40.0153 | 0 | 0 | 0 | 0 | 582.9164 | 1672 | 0.01 | 4
2013-01-10 18:00 | 1419 | 11.3769 | -0.0030525 | -40.0031 | 0 | 0 | 0 | 0 | 587.0474 | 1706 | 0.01 | 4.3
2013-01-10 20:00 | 1420 | 11.4013 | -0.0091575 | -40.0198 | 0 | 0 | 0 | 0 | 605.079 | 1741 | 0.01 | 4.5
2013-01-10 22:00 | 1421 | 11.3895 | -0.0091575 | -40.0107 | 0 | 0 | 0 | 0 | 615.0773 | 1776 | 0.01 | 4.6
2013-01-11 | 1422 | 11.3819 | -0.0030525 | -40.0092 | 0 | 0 | 0 | 0 | 624.1799 | 1759 | 0.01 | 4.6
2013-01-11 02:00 | 1423 | 11.3845 | 0.0045788 | -40.0076 | 0 | 0 | 0 | 0 | 631.4639 | 1741 | 0.01 | 4.6
2013-01-11 04:00 | 1424 | 11.3811 | -0.0030525 | -40.1297 | 0 | 0 | 0 | 0 | 637.249 | 1706 | 0.01 | 4.5
2013-01-11 06:00 | 1425 | 11.3778 | 0.013736 | -40.0412 | 0 | 0 | 0 | 0 | 642.9062 | 1706 | 0.01 | 4.5
2013-01-11 08:00 | 1426 | 11.371 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 654.6774 | 1706 | 0.01 | 4.5
2013-01-11 10:00 | 1427 | 11.371 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 651.6432 | 1689 | 0.01 | 4.5
2013-01-11 12:00 | 1428 | 11.3643 | -0.0076313 | -40.0504 | 0 | 0 | 0 | 0.762 | 646.571 | 1776 | 0.01 | 4.5
2013-01-11 14:00 | 1429 | 11.3668 | -0.10989 | -40.0382 | 0 | 0 | 0 | 0 | 634.4249 | 1849 | 0.01 | 4.5
2013-01-11 16:00 | 1430 | 11.3593 | 0.013736 | -40.0244 | 0 | 0 | 0 | 0 | 631.3542 | 1491 | 0 | 4.6
2013-01-11 18:00 | 1431 | 11.3702 | -0.0030525 | -40.0565 | 0 | 0 | 0 | 0 | 607.4826 | 1776 | 0.01 | 4.7
2013-01-11 20:00 | 1432 | 11.3694 | -0.033578 | -40.029 | 0 | 0 | 0 | 0 | 607.2633 | 1507 | 0 | 4.8
2013-01-11 22:00 | 1433 | 11.3694 | -0.0030525 | -40.0351 | 0 | 0 | 0 | 0 | 582.2584 | 1706 | 0 | 4.9
2013-01-12 | 1434 | 11.3702 | -0.0091575 | -40.0229 | 0 | 0 | 0 | 0 | 560.3609 | 1849 | 0.01 | 5
2013-01-12 02:00 | 1435 | 11.3442 | -0.0030525 | -40.1053 | 0 | 0 | 0 | 0 | 547.1182 | 1849 | 0 | 5
2013-01-12 04:00 | 1436 | 11.3752 | -0.0015263 | -40.0137 | 0 | 0 | 0 | 0 | 530.43 | 1849 | 0.01 | 5.2
2013-01-12 06:00 | 1437 | 11.3778 | -0.015263 | -40.0275 | 0 | 0 | 0 | 0 | 528.3737 | 1849 | 0 | 5.3
2013-01-12 08:00 | 1438 | 11.3719 | 0.021368 | -40.0351 | 0 | 0 | 0 | 0 | 505.5349 | 1849 | 0.01 | 5.5
2013-01-12 10:00 | 1439 | 11.3979 | -0.015263 | -40.0336 | 0 | 0 | 0 | 0 | 500.2615 | 1923 | 0.01 | 5.6
2013-01-12 12:00 | 1440 | 11.3929 | -0.0076313 | -40.0214 | 0 | 0 | 0 | 0 | 463.0102 | 1961 | 0.01 | 5.8
2013-01-12 14:00 | 1441 | 11.418 | -0.027473 | -40.0641 | 0 | 0 | 0 | 0 | 433.4723 | 1981 | 0.01 | 6.2
2013-01-12 16:00 | 1442 | 11.4105 | -0.027473 | -40.0412 | 0 | 0 | 0 | 0 | 428.5736 | 1858 | 0.01 | 6.7
2013-01-12 18:00 | 1443 | 11.4046 | -0.0091575 | -40.0351 | 0 | 0 | 0 | 0 | 440.1987 | 1339 | 0.01 | 7.2
2013-01-12 20:00 | 1444 | 11.4046 | 0.006105 | -40.0168 | 0 | 0 | 0 | 0 | 465.8067 | 1229 | 0.01 | 7.5
2013-01-12 22:00 | 1445 | 11.3912 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0 | 466.9217 | 1237 | 0.01 | 7.6
2013-01-13 | 1446 | 11.3853 | -0.015263 | -40.0229 | 0 | 0 | 0 | 0 | 492.1459 | 1245 | 0.01 | 7.8
2013-01-13 02:00 | 1447 | 11.3752 | -0.0091575 | -40.0778 | 0 | 0 | 0 | 0 | 503.8075 | 1253 | 0.01 | 7.8
2013-01-13 04:00 | 1448 | 11.3811 | -0.0015263 | -40.0275 | 0 | 0 | 0 | 0 | 497.9584 | 1269 | 0.01 | 7.9
2013-01-13 06:00 | 1449 | 11.3349 | -0.015263 | -40.0534 | 0 | 0 | 0 | 0 | 502.2721 | 1269 | 0.01 | 8
2013-01-13 08:00 | 1450 | 11.3786 | -0.0030525 | -40.0122 | 0 | 0 | 0 | 0 | 498.324 | 1285 | 0.01 | 8
2013-01-13 10:00 | 1451 | 11.3618 | 0.013736 | -40.0214 | 0 | 0 | 0 | 0 | 502.5006 | 1269 | 0.01 | 8.1
2013-01-13 12:00 | 1452 | 11.3719 | -0.054945 | -40.0412 | 0 | 0 | 0 | 0 | 471.8203 | 1285 | 0.01 | 8.1
2013-01-13 14:00 | 1453 | 11.3819 | -0.0030525 | -40.0351 | 0 | 0 | 0 | 0 | 462.8182 | 1293 | 0.01 | 8.3
2013-01-13 16:00 | 1454 | 11.3702 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 457.3804 | 1318 | 0.01 | 8.5
2013-01-13 18:00 | 1455 | 11.3811 | -0.0076313 | -40.0397 | 0 | 0 | 0 | 0 | 465.167 | 1384 | 0.01 | 8.8
2013-01-13 20:00 | 1456 | 11.3769 | 0.013736 | -40.0427 | 0 | 0 | 0 | 0 | 469.4076 | 1414 | 0.01 | 9
2013-01-13 22:00 | 1457 | 11.3736 | -0.030525 | -40.0168 | 0 | 0 | 0 | 0 | 465.9713 | 1384 | 0.01 | 9
2013-01-14 | 1458 | 11.3173 | -0.0091575 | -40.0351 | 0 | 0 | 0 | 0 | 464.7649 | 1539 | 0.01 | 9.1
2013-01-14 02:00 | 1459 | 11.371 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 465.3498 | 1571 | 0.01 | 9.1
2013-01-14 04:00 | 1460 | 11.3685 | -0.0030525 | -40.0214 | 0 | 0 | 0 | 0 | 473.0999 | 1539 | 0.01 | 9.2
2013-01-14 06:00 | 1461 | 11.361 | -0.0076313 | -40.0153 | 0 | 0 | 0 | 0 | 465.4229 | 1491 | 0.01 | 9.2
2013-01-14 08:00 | 1462 | 11.3584 | -0.0091575 | -40.0046 | 0 | 0 | 0 | 1.27 | 473.502 | 1706 | 0.01 | 9.2
2013-01-14 10:00 | 1463 | 11.3123 | -0.015263 | -40.0031 | 0 | 0 | 0 | 0.762 | 487.6586 | 1706 | 0.01 | 9.3
2013-01-14 12:00 | 1464 | 11.324 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0 | 499.2471 | 1706 | 0.01 | 9.3
2013-01-14 14:00 | 1465 | 11.3391 | -0.0091575 | -40.0092 | 0 | 0 | 0 | 0 | 503.5151 | 1706 | 0.01 | 9.3
2013-01-14 16:00 | 1466 | 11.3207 | -0.0030525 | -40.0412 | 0 | 0 | 0 | 0 | 504.6301 | 1384 | 0.01 | 9.3
2013-01-14 18:00 | 1467 | 11.3039 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0 | 519.2711 | 1741 | 0.01 | 9.3
2013-01-14 20:00 | 1468 | 11.3282 | -0.021368 | -39.9939 | 0 | 0 | 0 | 1.016 | 532.9708 | 1621 | 0.01 | 9.2
2013-01-14 22:00 | 1469 | 11.324 | 0.013736 | -40.0656 | 0 | 0 | 0 | 2.032 | 557.4272 | 1672 | 0.01 | 9.1
2013-01-15 | 1470 | 11.2947 | 0.013736 | -40.0412 | 0 | 0 | 0 | 1.016 | 575.3218 | 1689 | 0.01 | 9
2013-01-15 02:00 | 1471 | 11.277 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 2.032 | 583.1358 | 1539 | 0.01 | 8.9
2013-01-15 04:00 | 1472 | 11.2762 | -0.0030525 | -40.0351 | 0 | 0 | 0 | 2.794 | 604.0006 | 1638 | 0.01 | 8.7
2013-01-15 06:00 | 1473 | 11.2854 | -0.015263 | -40.0153 | 0 | 0 | 0 | 0.254 | 591.4433 | 1638 | 0.01 | 8.5
2013-01-15 08:00 | 1474 | 11.2871 | -0.0030525 | -40.0092 | 0 | 0 | 0 | 0.254 | 601.8163 | 1571 | 0.01 | 8.3
2013-01-15 10:00 | 1475 | 11.2821 | -0.047314 | -40.029 | 0 | 0 | 0 | 0.254 | 608.9083 | 1555 | 0.01 | 8.1
2013-01-15 12:00 | 1476 | 11.2804 | 0.021368 | -40.0168 | 0 | 0 | 0 | 1.778 | 602.1088 | 1571 | 0.01 | 7.9
2013-01-15 14:00 | 1477 | 11.2712 | -0.0030525 | -40.0351 | 0 | 0 | 0 | 0.762 | 601.1857 | 1539 | 0.01 | 7.7
2013-01-15 16:00 | 1478 | 11.2821 | -0.0091575 | -40.0366 | 0 | 0 | 0 | 2.032 | 604.9236 | 1399 | 0.01 | 7.6
2013-01-15 18:00 | 1479 | 11.2376 | -0.032051 | -40.0092 | 0 | 0 | 0 | 3.048 | 602.2916 | 1475 | 0.01 | 7.4
2013-01-15 20:00 | 1480 | 11.2309 | -0.0015263 | -40.0107 | 0 | 0 | 0 | 3.302 | 613.8801 | 1579 | 0.01 | 7.2
2013-01-15 22:00 | 1481 | 11.2585 | -0.0091575 | -40.0351 | 0 | 0 | 0 | 3.302 | 611.2845 | 1858 | 0.01 | 7
2013-01-16 | 1482 | 11.2569 | -0.0030525 | -39.9985 | 0 | 0 | 0 | 3.81 | 630.6597 | 2010 | 0.01 | 6.7
2013-01-16 02:00 | 1483 | 11.2485 | -0.0030525 | -40.0168 | 0 | 0 | 0 | 4.572 | 623.5402 | 2519 | 0.01 | 6.5
2013-01-16 04:00 | 1484 | 11.2636 | 0.0045788 | -40.0275 | 0 | 0 | 0 | 2.032 | 629.5264 | 2519 | 0.01 | 6.3
2013-01-16 06:00 | 1485 | 11.2602 | -0.010684 | -39.9985 | 0 | 0 | 0 | 0 | 634.4981 | 2340 | 0.01 | 6.1
2013-01-16 08:00 | 1486 | 11.2628 | -0.0091575 | -40.0336 | 0 | 0 | 0 | 1.016 | 624.7283 | 2429 | 0.01 | 6
2013-01-16 10:00 | 1487 | 11.2619 | -0.0076313 | -40.029 | 0 | 0 | 0 | 2.032 | 624.9202 | 1933 | 0.01 | 5.9
2013-01-16 12:00 | 1488 | 11.2728 | -0.0030525 | -40.0168 | 0 | 0 | 0 | 1.27 | 575.2029 | 2508 | 0.01 | 5.8
2013-01-16 14:00 | 1489 | 11.2829 | -0.0091575 | -40.0076 | 0 | 0 | 0 | 0 | 542.9598 | 2429 | 0.01 | 5.9
2013-01-16 16:00 | 1490 | 11.2947 | 0.0076313 | -40.0275 | 0 | 0 | 0 | 0 | 529.9456 | 2406 | 0.01 | 6
2013-01-16 18:00 | 1491 | 11.2888 | -0.0091575 | -40.1297 | 0 | 0 | 0 | 0 | 536.1238 | 2202 | 0.01 | 6.2
2013-01-16 20:00 | 1492 | 11.2569 | -0.021368 | -40.0198 | 0 | 0 | 0 | 0.508 | 553.0861 | 2212 | 0.01 | 6.3
2013-01-16 22:00 | 1493 | 11.2544 | 0.013736 | -40.0336 | 0 | 0 | 0 | 0 | 560.7996 | 2170 | 0.01 | 6.4
2013-01-17 | 1494 | 11.2401 | -0.0030525 | -40.0046 | 0 | 0 | 0 | 0 | 566.6395 | 1858 | 0.01 | 6.4
2013-01-17 02:00 | 1495 | 11.2544 | -0.0091575 | -40.0229 | 0 | 0 | 0 | 0 | 570.5146 | 2010 | 0.01 | 6.4
2013-01-17 04:00 | 1496 | 11.2418 | -0.0030525 | -40.0473 | 0 | 0 | 0 | 0 | 574.2891 | 1858 | 0.01 | 6.4
2013-01-17 06:00 | 1497 | 11.2476 | -0.015263 | -40.1114 | 0 | 0 | 0 | 0 | 580.1016 | 2010 | 0.01 | 6.4
2013-01-17 08:00 | 1498 | 11.251 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0.254 | 606.459 | 2010 | 0.01 | 6.3
2013-01-17 10:00 | 1499 | 11.2048 | -0.018315 | -40.029 | 0 | 0 | 0 | 0 | 613.0027 | 2010 | 0.01 | 6.2
2013-01-17 12:00 | 1500 | 11.2418 | -0.0030525 | -40.0092 | 0 | 0 | 0 | 1.016 | 637.121 | 2089 | 0.01 | 6.1
2013-01-17 14:00 | 1501 | 11.209 | -0.0015263 | -40.0153 | 0 | 0 | 0 | 0.254 | 635.4029 | 2170 | 0.01 | 6
2013-01-17 16:00 | 1502 | 11.235 | -0.010684 | -40.0443 | 0 | 0 | 0 | 0 | 654.4215 | 2297 | 0.01 | 5.8
2013-01-17 18:00 | 1503 | 11.2283 | -0.0091575 | -39.9847 | 0 | 0 | 0 | 0 | 655.9021 | 2286 | 0.01 | 5.7
2013-01-17 20:00 | 1504 | 11.2057 | -0.0015263 | -40.0092 | 0 | 0 | 0 | 0 | 651.3416 | 2202 | 0.01 | 5.6
2013-01-17 22:00 | 1505 | 11.2317 | -0.0030525 | -40.0275 | 0 | 0 | 0 | 0 | 655.7285 | 2244 | 0.01 | 5.4
2013-01-18 | 1506 | 11.2157 | -0.10073 | -40.0229 | 0 | 0 | 0 | 0 | 625.4685 | 2222 | 0.01 | 5.4
2013-01-18 02:00 | 1507 | 11.2233 | -0.010684 | -40.0351 | 0 | 0 | 0 | 0 | 638.9214 | 2222 | 0.01 | 5.2
2013-01-18 04:00 | 1508 | 11.2191 | -0.0091575 | -40.0092 | 0 | 0 | 0 | 0 | 639.1499 | 2160 | 0.01 | 5.2
2013-01-18 06:00 | 1509 | 11.2107 | -0.030525 | -40.0275 | 0 | 0 | 0 | 0 | 631.0618 | 2160 | 0.01 | 5.1
2013-01-18 08:00 | 1510 | 11.1981 | -0.015263 | -40.0168 | 0 | 0 | 0 | 0 | 657.3095 | 2160 | 0.01 | 5.1
2013-01-18 10:00 | 1511 | 11.1729 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 669.355 | 2160 | 0.01 | 5
2013-01-18 12:00 | 1512 | 11.2166 | -0.0030525 | -40.1282 | 0 | 0 | 0 | 0 | 671.3382 | 2119 | 0.01 | 5
2013-01-18 14:00 | 1513 | 11.2183 | -0.0030525 | -40.0015 | 0 | 0 | 0 | 1.27 | 654.3484 | 2160 | 0.01 | 4.9
2013-01-18 16:00 | 1514 | 11.2309 | -0.0030525 | -40.0336 | 0 | 0 | 0 | 1.524 | 628.4754 | 2079 | 0.01 | 4.9
2013-01-18 18:00 | 1515 | 11.2225 | -0.016789 | -40.0336 | 0 | 0 | 0 | 0.508 | 638.3732 | 2119 | 0.01 | 4.8
2013-01-18 20:00 | 1516 | 11.2208 | 0.0076313 | -40.0153 | 0 | 0 | 0 | 0 | 665.0596 | 2119 | 0.01 | 4.8
2013-01-18 22:00 | 1517 | 11.2048 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 671.457 | 2059 | 0.01 | 4.7
2013-01-19 | 1518 | 11.1838 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 679.0609 | 2079 | 0.01 | 4.7
2013-01-19 02:00 | 1519 | 11.2048 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0 | 668.5598 | 2039 | 0.01 | 4.7
2013-01-19 04:00 | 1520 | 11.1771 | -0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 662.9393 | 2160 | 0.01 | 4.6
2013-01-19 06:00 | 1521 | 11.209 | -0.0030525 | -40.0336 | 0 | 0 | 0 | 0 | 655.0064 | 2039 | 0.01 | 4.6
2013-01-19 08:00 | 1522 | 11.2015 | -0.027473 | -40.0214 | 0 | 0 | 0 | 0 | 668.7883 | 2039 | 0.01 | 4.6
2013-01-19 10:00 | 1523 | 11.2032 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 639.0677 | 2039 | 0.01 | 4.5
2013-01-19 12:00 | 1524 | 11.2006 | -0.022894 | -40.0061 | 0 | 0 | 0 | 0.254 | 589.6063 | 2000 | 0.01 | 4.5
2013-01-19 14:00 | 1525 | 11.2292 | -0.0091575 | -40.0137 | 0 | 0 | 0 | 1.016 | 550.4905 | 2000 | 0.01 | 4.5
2013-01-19 16:00 | 1526 | 11.2309 | -0.0030525 | -40.0351 | 0 | 0 | 0 | 0.254 | 532.7605 | 2079 | 0.01 | 4.4
2013-01-19 18:00 | 1527 | 11.2124 | -0.013736 | -40.0214 | 0 | 0 | 0 | 0 | 568.8787 | 2119 | 0.01 | 4.4
2013-01-19 20:00 | 1528 | 11.225 | -0.021368 | -40.0153 | 0 | 0 | 0 | 0 | 590.6299 | 2079 | 0.01 | 4.4
2013-01-19 22:00 | 1529 | 11.2233 | -0.03663 | -40.0336 | 0 | 0 | 0 | 0 | 596.808 | 2119 | 0.01 | 4.5
2013-01-20 | 1530 | 11.1964 | -0.041209 | -40.0275 | 0 | 0 | 0 | 0 | 601.533 | 2000 | 0.01 | 4.4
2013-01-20 02:00 | 1531 | 11.2116 | -0.0030525 | -40.1038 | 0 | 0 | 0 | 0 | 615.2875 | 2039 | 0.01 | 4.4
2013-01-20 04:00 | 1532 | 11.204 | -0.0076313 | -40.0229 | 0 | 0 | 0 | 0 | 608.5062 | 2039 | 0.01 | 4.3
2013-01-20 06:00 | 1533 | 11.2065 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 609.347 | 1961 | 0.01 | 4.3
2013-01-20 08:00 | 1534 | 11.2065 | -0.0091575 | -40.0763 | 0 | 0 | 0 | 0 | 617.4626 | 1961 | 0.01 | 4.2
2013-01-20 10:00 | 1535 | 11.2048 | -0.021368 | -40.0229 | 0 | 0 | 0 | 0 | 604.5946 | 1961 | 0.01 | 4.2
2013-01-20 12:00 | 1536 | 11.1788 | -0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 587.2484 | 1981 | 0.01 | 4.2
2013-01-20 14:00 | 1537 | 11.2132 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 576.1534 | 1981 | 0.01 | 4.2
2013-01-20 16:00 | 1538 | 11.2006 | -0.015263 | -40.0351 | 0 | 0 | 0 | 0 | 611.1749 | 2000 | 0.01 | 4.5
2013-01-20 18:00 | 1539 | 11.2032 | -0.0030525 | -40.0336 | 0 | 0 | 0 | 0 | 629.9285 | 2079 | 0.01 | 4.8
2013-01-20 20:00 | 1540 | 11.204 | -0.0076313 | -40.0458 | 0 | 0 | 0 | 0 | 669.1173 | 2039 | 0.01 | 4.9
2013-01-20 22:00 | 1541 | 11.178 | 0.0045788 | -40.0275 | 0 | 0 | 0 | 0 | 695.6576 | 2079 | 0.01 | 4.8
2013-01-21 | 1542 | 11.1746 | -0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 687.213 | 2079 | 0.01 | 4.7
2013-01-21 02:00 | 1543 | 11.1402 | -0.0030525 | -40.0153 | 0 | 0 | 0 | 0 | 698.9111 | 2039 | 0.01 | 4.6
2013-01-21 04:00 | 1544 | 11.1704 | -0.013736 | -40.0076 | 0 | 0 | 0 | 0 | 716.2391 | 1981 | 0.01 | 4.4
2013-01-21 06:00 | 1545 | 11.1645 | -0.0091575 | -40.0412 | 0 | 0 | 0 | 0 | 709.5492 | 1812 | 0.01 | 4.3
2013-01-21 08:00 | 1546 | 11.157 | -0.0030525 | -40.0977 | 0 | 0 | 0 | 0 | 704.0656 | 1923 | 0.01 | 4.2
2013-01-21 10:00 | 1547 | 11.1435 | -0.0015263 | -40.0153 | 0 | 0 | 0 | 0 | 687.213 | 1923 | 0.01 | 4.1
2013-01-21 12:00 | 1548 | 11.1654 | -0.0030525 | -40.026 | 0 | 0 | 0 | 0 | 675.7708 | 1812 | 0.01 | 4
2013-01-21 14:00 | 1549 | 11.1402 | -0.0030525 | -39.9985 | 0 | 0 | 0 | 0 | 630.0656 | 1849 | 0.01 | 3.9
2013-01-21 16:00 | 1550 | 11.1922 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 611.7324 | 1849 | 0.01 | 3.9
2013-01-21 18:00 | 1551 | 11.1754 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 654.5952 | 1849 | 0.01 | 3.9
2013-01-21 20:00 | 1552 | 11.1284 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 702.046 | 1849 | 0.01 | 4
2013-01-21 22:00 | 1553 | 11.1159 | -0.0091575 | -40.0046 | 0 | 0 | 0 | 0 | 734.1154 | 1849 | 0.01 | 3.9
2013-01-22 | 1554 | 11.1024 | -0.0030525 | -40.0168 | 0 | 0 | 0 | 0 | 752.6131 | 1849 | 0.01 | 3.9
2013-01-22 02:00 | 1555 | 11.136 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0 | 758.2794 | 1849 | 0.01 | 3.8
2013-01-22 04:00 | 1556 | 11.183 | -0.0091575 | -40.0092 | 0 | 0 | 0 | 0 | 764.5672 | 1776 | 0.01 | 3.8
2013-01-22 06:00 | 1557 | 11.1989 | -0.0091575 | -40.0092 | 0 | 0 | 0 | 0 | 771.321 | 1812 | 0.01 | 3.7
2013-01-22 08:00 | 1558 | 11.2401 | -0.0091575 | -40.0229 | 0 | 0 | 0 | 0 | 775.9547 | 1812 | 0.01 | 3.5
2013-01-22 10:00 | 1559 | 11.2988 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 784.5637 | 1849 | 0.01 | 3.4
2013-01-22 12:00 | 1560 | 11.3752 | -0.0030525 | -40.0015 | 0 | 0 | 0 | 0 | 780.5791 | 1830 | 0.01 | 3.2
2013-01-22 14:00 | 1561 | 11.3265 | -0.0091575 | -40.0229 | 0 | 0 | 0 | 0 | 768.5884 | 1812 | 0.01 | 3.1
2013-01-22 16:00 | 1562 | 11.3694 | 0.01221 | -40.0412 | 0 | 0 | 0 | 0 | 774.3461 | 1905 | 0 | 3
2013-01-22 18:00 | 1563 | 11.3098 | -0.12363 | -40.0092 | 0 | 0 | 0 | 0 | 779.921 | 1571 | 0.01 | 2.9
2013-01-22 20:00 | 1564 | 11.3761 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 782.7725 | 1812 | 0.01 | 2.9
2013-01-22 22:00 | 1565 | 11.3962 | -0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 774.3735 | 1285 | 0.01 | 2.8
2013-01-23 | 1566 | 11.4206 | -0.12515 | -40.0153 | 0 | 0 | 0 | 0 | 774.3278 | 1339 | 0.01 | 2.7
2013-01-23 02:00 | 1567 | 11.4306 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0 | 778.1937 | 1571 | 0.01 | 2.6
2013-01-23 04:00 | 1568 | 11.4164 | -0.0030525 | -40.0092 | 0 | 0 | 0 | 0 | 772.6827 | 1391 | 0.01 | 2.6
2013-01-23 06:00 | 1569 | 11.434 | -0.0030525 | -40.0092 | 0 | 0 | 0 | 0 | 770.005 | 1384 | 0.01 | 2.4
2013-01-23 08:00 | 1570 | 11.4164 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 770.5626 | 1369 | 0.01 | 2.3
2013-01-23 10:00 | 1571 | 11.4256 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0 | 782.3703 | 1362 | 0.01 | 2.3
2013-01-23 12:00 | 1572 | 11.4113 | -0.015263 | -40.0153 | 0 | 0 | 0 | 0 | 766.1757 | 1354 | 0 | 2.2
2013-01-23 14:00 | 1573 | 11.3484 | -0.0030525 | -40.0153 | 0 | 0 | 0 | 0 | 758.316 | 1269 | 0.01 | 2.1
2013-01-23 16:00 | 1574 | 11.3299 | -0.0030525 | -40.0214 | 0 | 0 | 0 | 0 | 737.1221 | 1638 | 0.01 | 2
2013-01-23 18:00 | 1575 | 11.298 | -0.010684 | -40.0351 | 0 | 0 | 0 | 0 | 752.8325 | 1629 | 0.01 | 2
2013-01-23 20:00 | 1576 | 11.2451 | -0.0030525 | -40.032 | 0 | 0 | 0 | 0 | 760.29 | 1571 | 0.01 | 2
2013-01-23 22:00 | 1577 | 11.2342 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 745.3383 | 1604 | 0.01 | 1.9
2013-01-24 | 1578 | 11.2737 | -0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 738.8951 | 1604 | 0.01 | 1.9
2013-01-24 02:00 | 1579 | 11.209 | 0.019841 | -40.0366 | 0 | 0 | 0 | 0 | 744.8996 | 1571 | 0.01 | 1.9
2013-01-24 04:00 | 1580 | 11.2569 | -0.0091575 | -40.0015 | 0 | 0 | 0 | 0 | 749.8713 | 1571 | 0.01 | 1.9
2013-01-24 06:00 | 1581 | 11.2166 | -0.0030525 | -40.0336 | 0 | 0 | 0 | 0 | 745.7587 | 1638 | 0.01 | 1.9
2013-01-24 08:00 | 1582 | 11.2124 | -0.0030525 | -40.0214 | 0 | 0 | 0 | 0 | 753.856 | 1638 | 0.01 | 1.8
2013-01-24 10:00 | 1583 | 11.277 | -0.018315 | -40.0092 | 0 | 0 | 0 | 0 | 759.4127 | 1205 | 0.01 | 1.8
2013-01-24 12:00 | 1584 | 11.2619 | -0.0030525 | -40.0015 | 0 | 0 | 0 | 0 | 764.8962 | 1293 | 0.01 | 1.8
2013-01-24 14:00 | 1585 | 11.2955 | -0.0030525 | -39.9756 | 0 | 0 | 0 | 0 | 749.7526 | 1334 | 0.01 | 1.8
2013-01-24 16:00 | 1586 | 11.2821 | -0.0030525 | -40.0397 | 0 | 0 | 0 | 0 | 759.7417 | 1334 | 0.01 | 1.8
2013-01-24 18:00 | 1587 | 11.2695 | -0.015263 | -40.0229 | 0 | 0 | 0 | 0 | 767.9853 | 1326 | 0.01 | 1.8
2013-01-24 20:00 | 1588 | 11.2804 | -0.021368 | -40.0305 | 0 | 0 | 0 | 0 | 770.2335 | 1326 | 0.01 | 1.7
2013-01-24 22:00 | 1589 | 11.2997 | -0.056471 | -40.0305 | 0 | 0 | 0 | 0 | 776.7863 | 1322 | 0.01 | 1.7
2013-01-25 | 1590 | 11.2518 | -0.0030525 | -40 | 0 | 0 | 0 | 0 | 771.9151 | 1322 | 0.01 | 1.7
2013-01-25 02:00 | 1591 | 11.2728 | -0.0030525 | -40.0092 | 0 | 0 | 0 | 0 | 777.8007 | 1318 | 0.01 | 1.7
2013-01-25 04:00 | 1592 | 11.2518 | -0.0091575 | -40.0229 | 0 | 0 | 0 | 0 | 774.072 | 1309 | 0.01 | 1.6
2013-01-25 06:00 | 1593 | 11.2678 | -0.0030525 | -39.9985 | 0 | 0 | 0 | 0 | 770.2884 | 1314 | 0.01 | 1.5
2013-01-25 08:00 | 1594 | 11.2837 | -0.010684 | -40.0336 | 0 | 0 | 0 | 0 | 768.9813 | 1309 | 0.01 | 1.5
2013-01-25 10:00 | 1595 | 11.2283 | -0.0091575 | -39.9924 | 0 | 0 | 0 | 0 | 779.9576 | 1305 | 0.01 | 1.4
2013-01-25 12:00 | 1596 | 11.2443 | 0.013736 | -40.0229 | 0 | 0 | 0 | 0 | 768.9266 | 1301 | 0 | 1.4
2013-01-25 14:00 | 1597 | 11.2174 | -0.041209 | -40.0214 | 0 | 0 | 0 | 0 | 768.7712 | 1293 | 0.01 | 1.3
2013-01-25 16:00 | 1598 | 11.2594 | -0.047314 | -40.0092 | 0 | 0 | 0 | 0 | 770.6996 | 1289 | 0.01 | 1.3
2013-01-25 18:00 | 1599 | 11.1822 | -0.0030525 | -40.0397 | 0 | 0 | 0 | 0 | 770.8184 | 1285 | 0.01 | 1.3
2013-01-25 20:00 | 1600 | 11.1897 | -0.053419 | -40.0214 | 0 | 0 | 0 | 0 | 759.239 | 1289 | 0.01 | 1.2
2013-01-25 22:00 | 1601 | 11.2006 | -0.0030525 | -40.0153 | 0 | 0 | 0 | 0 | 749.8347 | 1281 | 0.01 | 1.2
2013-01-26 | 1602 | 11.1771 | -0.04884 | -40.0168 | 0 | 0 | 0 | 0 | 714.53 | 1285 | 0.01 | 1.2
2013-01-26 02:00 | 1603 | 11.1284 | -0.047314 | -40.0107 | 0 | 0 | 0 | 0 | 655.1527 | 1277 | 0.01 | 1.2
2013-01-26 04:00 | 1604 | 11.0949 | -0.0030525 | -40.0656 | 0 | 0 | 0 | 0 | 652.3378 | 1281 | 0.01 | 1.2
2013-01-26 06:00 | 1605 | 11.0655 | -0.016789 | -40.0168 | 0 | 0 | 0 | 0 | 682.2778 | 1277 | 0.01 | 1.2
2013-01-26 08:00 | 1606 | 11.0596 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 685.0927 | 1273 | 0.01 | 1.2
2013-01-26 10:00 | 1607 | 11.0386 | 0.0045788 | -40.0336 | 0 | 0 | 0 | 0 | 686.9205 | 1273 | 0.01 | 1.2
2013-01-26 12:00 | 1608 | 11.0235 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 687.5786 | 1273 | 0 | 1.2
2013-01-26 14:00 | 1609 | 11 | -0.0030525 | -40.0336 | 0 | 0 | 0 | 0 | 673.2849 | 1277 | 0.01 | 1.2
2013-01-26 16:00 | 1610 | 10.9924 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 666.1472 | 1273 | 0.01 | 1.2
2013-01-26 18:00 | 1611 | 11.0453 | -0.015263 | -40.0305 | 0 | 0 | 0 | 0 | 693.2632 | 1318 | 0.01 | 1.1
2013-01-26 20:00 | 1612 | 11.0336 | -0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 710.5454 | 1539 | 0.01 | 1.1
2013-01-26 22:00 | 1613 | 10.9597 | -0.059524 | -40.0031 | 0 | 0 | 0 | 0 | 719.5657 | 1277 | 0.01 | 1.2
2013-01-27 | 1614 | 10.8649 | -0.016789 | -40.0153 | 0 | 0 | 0 | 0 | 721.4301 | 1269 | 0 | 1.2
2013-01-27 02:00 | 1615 | 10.5677 | -0.0091575 | -40.032 | 0 | 0 | 0 | 0 | 725.7438 | 1269 | 0.01 | 1.2
2013-01-27 04:00 | 1616 | 9.1709 | -0.0030525 | -40.0351 | 0 | 0 | 0 | 0 | 751.9185 | 1269 | 0.01 | 1.1
2013-01-27 06:00 | 1617 | 8.8771 | -0.0091575 | -40.0229 | 0 | 0 | 0 | 0 | 753.0153 | 1265 | 0.01 | 1.1
2013-01-27 08:00 | 1618 | 8.7679 | -0.0030525 | -40.0168 | 0 | 0 | 0 | 0 | 748.3908 | 1273 | 0 | 1.1
2013-01-27 10:00 | 1619 | 8.5572 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 734.5541 | 1265 | 0.01 | 1.1
2013-01-27 12:00 | 1620 | 8.4943 | -0.0030525 | -40.0153 | 0 | 0 | 0 | 0 | 700.9401 | 1261 | 0 | 1
2013-01-27 14:00 | 1621 | 8.3935 | -0.015263 | -40.0229 | 0 | 0 | 0 | 0 | 669.2636 | 1261 | 0.01 | 1
2013-01-27 16:00 | 1622 | 9.0181 | 0.0045788 | -40.0656 | 0 | 0 | 0 | 0 | 663.8075 | 1257 | 0.01 | 1.1
2013-01-27 18:00 | 1623 | 9.343 | -0.02442 | -40.0198 | 0 | 0 | 0 | 0 | 669.4008 | 1261 | 0.01 | 1.1
2013-01-27 20:00 | 1624 | 8.977 | -0.033578 | -40.0733 | 0 | 0 | 0 | 0 | 685.5405 | 1257 | 0.01 | 1.1
2013-01-27 22:00 | 1625 | 8.5581 | -0.0091575 | -40.0336 | 0 | 0 | 0 | 0 | 685.897 | 1257 | 0.01 | 1.1
2013-01-28 | 1626 | 8.6227 | -0.054945 | -40.0153 | 0 | 0 | 0 | 0 | 690.7773 | 1261 | 0.01 | 1
2013-01-28 02:00 | 1627 | 8.8888 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 692.6965 | 1261 | 0.01 | 1.1
2013-01-28 04:00 | 1628 | 10.0615 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 690.9052 | 1265 | 0.01 | 1
2013-01-28 06:00 | 1629 | 10.3671 | -0.032051 | -40.0305 | 0 | 0 | 0 | 0.254 | 684.2885 | 1261 | 0 | 1
2013-01-28 08:00 | 1630 | 10.5123 | -0.0091575 | -40.0351 | 0 | 0 | 0 | 0 | 682.2413 | 1269 | 0 | 1
2013-01-28 10:00 | 1631 | 10.6508 | -0.015263 | -40.0427 | 0 | 0 | 0 | 0 | 667.6277 | 1273 | 0.01 | 1
2013-01-28 12:00 | 1632 | 10.859 | -0.0076313 | -40.0534 | 0 | 0 | 0 | 0.254 | 615.8176 | 1539 | 0.01 | 1
2013-01-28 14:00 | 1633 | 10.9555 | -0.0091575 | -40.029 | 0 | 0 | 0 | 0 | 530.9692 | 1326 | 0.01 | 1
2013-01-28 16:00 | 1634 | 11 | -0.015263 | -40.0412 | 0 | 0 | 0 | 0 | 501.2943 | 1301 | 0.01 | 1.1
2013-01-28 18:00 | 1635 | 10.9983 | -0.015263 | -40.029 | 0 | 0 | 0 | 0 | 505.8913 | 1318 | 0.01 | 1.1
2013-01-28 20:00 | 1636 | 10.979 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 511.1189 | 1318 | 0.01 | 1.1
2013-01-28 22:00 | 1637 | 10.9975 | 0.006105 | -40.0275 | 0 | 0 | 0 | 0 | 510.8356 | 1334 | 0.01 | 1.1
2013-01-29 | 1638 | 10.9824 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 507.2896 | 1318 | 0.01 | 1.1
2013-01-29 02:00 | 1639 | 10.9908 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 516.2277 | 1326 | 0.01 | 1.1
2013-01-29 04:00 | 1640 | 10.9857 | 0.019841 | -40.0214 | 0 | 0 | 0 | 0 | 518.7867 | 1334 | 0 | 1.1
2013-01-29 06:00 | 1641 | 10.9849 | -0.0015263 | -40.0275 | 0 | 0 | 0 | 0 | 512.8645 | 1326 | 0.01 | 1.1
2013-01-29 08:00 | 1642 | 10.9757 | -0.022894 | -40.0473 | 0 | 0 | 0 | 0 | 513.6047 | 1334 | 0 | 1.1
2013-01-29 10:00 | 1643 | 10.9715 | -0.0045788 | -40.029 | 0 | 0 | 0 | 0 | 496.4962 | 1190 | 0.01 | 1.1
2013-01-29 12:00 | 1644 | 10.9614 | -0.015263 | -40.0198 | 0 | 0 | 0 | 0 | 450.5077 | 1384 | 0 | 1.2
2013-01-29 14:00 | 1645 | 10.9723 | 0 | -40.0412 | 0 | 0 | 0 | 0 | 405.8353 | 1444 | 0.01 | 1.3
2013-01-29 16:00 | 1646 | 10.9605 | -0.028999 | -40.0397 | 0 | 0 | 0 | 0 | 389.6863 | 1539 | 0.01 | 1.6
2013-01-29 18:00 | 1647 | 10.9513 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 416.519 | 1672 | 0.01 | 2.3
2013-01-29 20:00 | 1648 | 10.9345 | -0.0091575 | -40.0137 | 0 | 0 | 0 | 0 | 428.9118 | 1706 | 0.01 | 2.9
2013-01-29 22:00 | 1649 | 10.9211 | -0.0091575 | -40.0336 | 0 | 0 | 0 | 0 | 463.3848 | 1741 | 0.01 | 3.3
2013-01-30 | 1650 | 10.9085 | -0.0091575 | -40.0168 | 0 | 0 | 0 | 0 | 467.004 | 1759 | 0.01 | 3.6
2013-01-30 02:00 | 1651 | 10.9085 | -0.0030525 | -40.1526 | 0 | 0 | 0 | 0 | 469.5904 | 1794 | 0.01 | 3.8
2013-01-30 04:00 | 1652 | 10.9001 | -0.0091575 | -40.0397 | 0 | 0 | 0 | 0 | 463.2661 | 1812 | 0.01 | 4.1
2013-01-30 06:00 | 1653 | 10.8808 | -0.0091575 | -40.0275 | 0 | 0 | 0 | 0 | 429.9536 | 1785 | 0 | 4.4
2013-01-30 08:00 | 1654 | 10.8724 | -0.019841 | -40.0275 | 0 | 0 | 0 | 0 | 424.9545 | 1715 | 0 | 4.7
2013-01-30 10:00 | 1655 | 10.8464 | -0.015263 | -40.0549 | 0 | 0 | 0 | 0 | 410.542 | 1579 | 0.01 | 5.1
2013-01-30 12:00 | 1656 | 10.8346 | -0.022894 | -40.0473 | 0 | 0 | 0 | 1.27 | 391.7244 | 1237 | 0.01 | 5.4
2013-01-30 14:00 | 1657 | 10.8128 | -0.062576 | -40.0214 | 0 | 0 | 0 | 3.048 | 381.2874 | 1539 | 0.01 | 5.7
2013-01-30 16:00 | 1658 | 10.7918 | -0.015263 | -40.0153 | 0 | 0 | 0 | 1.016 | 381.5525 | 1759 | 0.01 | 6.1
2013-01-30 18:00 | 1659 | 10.7566 | -0.015263 | -40.029 | 0 | 0 | 0 | 18.796 | 395.2704 | 2542 | 0.01 | 7.5
2013-01-30 20:00 | 1660 | 10.7238 | 0.006105 | -40.0275 | 0 | 0 | 0 | 8.636 | 411.9403 | 2275 | 0.01 | 7.3
2013-01-30 22:00 | 1661 | 10.6768 | 0.0076313 | -40.0214 | 0 | 0 | 0 | 11.43 | 423.8944 | 2351 | 0.01 | 7.6
2013-01-31 | 1662 | 10.6281 | -0.015263 | -40.0397 | 0 | 0 | 0 | 8.128 | 420.129 | 2244 | 0.01 | 7.9
2013-01-31 02:00 | 1663 | 10.524 | 0.0045788 | -40.0168 | 0 | 0 | 0 | 2.794 | 433.0427 | 2099 | 0.01 | 8
2013-01-31 04:00 | 1664 | 10.4023 | -0.064103 | -40.0153 | 0 | 0 | 0 | 0.254 | 486.4796 | 1971 | 0.01 | 7.9
2013-01-31 06:00 | 1665 | 10.3008 | -0.02442 | -40.029 | 0 | 0 | 0 | 0.254 | 532.5229 | 1905 | 0.01 | 7.7
2013-01-31 08:00 | 1666 | 10.2025 | 0.0045788 | -39.9924 | 0 | 0 | 0 | 0 | 584.7077 | 1867 | 0.01 | 7.4
2013-01-31 10:00 | 1667 | 10.0523 | -0.0091575 | -40.0168 | 0 | 0 | 0 | 0 | 628.978 | 1830 | 0.01 | 7
2013-01-31 12:00 | 1668 | 9.9616 | -0.054945 | -40.0137 | 0 | 0 | 0 | 0 | 600.3541 | 1803 | 0.01 | 6.6
2013-01-31 14:00 | 1669 | 9.829 | -0.016789 | -40.0351 | 0 | 0 | 0 | 0 | 630.4037 | 1812 | 0.01 | 6.2
2013-01-31 16:00 | 1670 | 9.7459 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 657.739 | 1785 | 0.01 | 6
2013-01-31 18:00 | 1671 | 9.6267 | -0.021368 | -40.0336 | 0 | 0 | 0 | 0 | 677.9276 | 1759 | 0.01 | 5.8
2013-01-31 20:00 | 1672 | 9.5822 | -0.0091575 | -40.0214 | 0 | 0 | 0 | 0 | 690.4026 | 1732 | 0.01 | 5.6
2013-01-31 22:00 | 1673 | 9.3992 | -0.0030525 | -40.0412 | 0 | 0 | 0 | 0 | 698.5822 | 1723 | 0.01 | 5.4
2013-02-01 | 1674 | 9.2338 | -0.021368 | -40.0229 | 0 | 0 | 0 | 0 | 677.9001 | 1697 | 0.01 | 5.2
2013-02-05 10:00 | 1675 | 9.1129 | -0.025946 | -40.0214 | 0 | 0 | 0 | 0 | 550.2347 | 1391 | 0.01 | 1.6
2013-02-05 12:00 | 1676 | 9.1793 | -0.0030525 | -40.0534 | 0 | 0 | 0 | 0 | 542.1647 | 1399 | 0 | 1.6
2013-02-05 14:00 | 1677 | 9.1331 | -0.032051 | -40.0351 | 0 | 0 | 0 | 0 | 537.6591 | 1399 | 0.01 | 1.6
2013-02-05 16:00 | 1678 | 9.1516 | -0.0091575 | -40.0275 | 0 | 0 | 0 | 0 | 529.1414 | 1391 | 0.01 | 1.6
2013-02-05 18:00 | 1679 | 9.1373 | -0.041209 | -40.0229 | 0 | 0 | 0 | 0 | 542.1465 | 1406 | 0.01 | 1.6
2013-02-05 20:00 | 1680 | 9.1104 | -0.0091575 | -39.9924 | 0 | 0 | 0 | 0 | 570.085 | 1414 | 0.01 | 1.6
2013-02-05 22:00 | 1681 | 9.076 | 0.006105 | -40.029 | 0 | 0 | 0 | 0 | 566.3197 | 1414 | 0.01 | 1.6
2013-02-06 | 1682 | 9.0097 | -0.010684 | -40.0412 | 0 | 0 | 0 | 0 | 580.394 | 1406 | 0.01 | 1.6
2013-02-06 02:00 | 1683 | 9.0324 | -0.0030525 | -40.0214 | 0 | 0 | 0 | 0 | 549.8326 | 1421 | 0.01 | 1.6
2013-02-06 04:00 | 1684 | 9.0265 | -0.0030525 | -40.0046 | 0 | 0 | 0 | 0 | 530.7682 | 1414 | 0.01 | 1.6
2013-02-06 06:00 | 1685 | 9.0089 | 0.013736 | -40.0214 | 0 | 0 | 0 | 0 | 539.1214 | 1414 | 0.01 | 1.6
2013-02-06 08:00 | 1686 | 8.9828 | -0.039683 | -40.0122 | 0 | 0 | 0 | 0 | 562.4904 | 1421 | 0.01 | 1.6
2013-02-06 10:00 | 1687 | 8.9652 | -0.0091575 | -40.0351 | 0 | 0 | 0 | 0 | 571.7667 | 1421 | 0.01 | 1.6
2013-02-06 12:00 | 1688 | 8.9652 | -0.0091575 | -40.0351 | 0 | 0 | 0 | 0 | 536.928 | 1429 | 0.01 | 1.6
2013-02-06 14:00 | 1689 | 8.9618 | -0.0091575 | -40.0412 | 0 | 0 | 0 | 0 | 559.4835 | 1429 | 0.01 | 1.6
2013-02-06 16:00 | 1690 | 8.9719 | 0.0076313 | -40.0351 | 0 | 0 | 0 | 0 | 544.4313 | 1444 | 0.01 | 1.6
2013-02-06 18:00 | 1691 | 8.9249 | -0.0015263 | -40.0214 | 0 | 0 | 0 | 0 | 573.1558 | 1452 | 0 | 1.6
2013-02-06 20:00 | 1692 | 8.9316 | -0.0091575 | -40.0092 | 0 | 0 | 0 | 0 | 583.4282 | 1468 | 0.01 | 1.6
2013-02-06 22:00 | 1693 | 8.919 | -0.0030525 | -40.0229 | 0 | 0 | 0 | 0 | 596.5521 | 1468 | 0.01 | 1.6
2013-02-07 | 1694 | 8.8939 | -0.015263 | -40.0137 | 0 | 0 | 0 | 0 | 612.235 | 1475 | 0.01 | 1.6
2013-02-07 02:00 | 1695 | 8.8804 | -0.0091575 | -40.0336 | 0 | 0 | 0 | 0 | 611.6501 | 1460 | 0.01 | 1.6
2013-02-07 04:00 | 1696 | 8.8217 | -0.0076313 | -40.0137 | 0 | 0 | 0 | 0 | 630.0473 | 1460 | 0.01 | 1.6
2013-02-07 06:00 | 1697 | 8.862 | -0.02442 | -40.0229 | 0 | 0 | 0 | 0 | 621.7855 | 1452 | 0.01 | 1.6
2013-02-07 08:00 | 1698 | 8.846 | -0.0091575 | -40.0061 | 0 | 0 | 0 | 0 | 628.5028 | 1452 | 0.01 | 1.6
2013-02-07 10:00 | 1699 | 8.8284 | -0.0030525 | -40.0214 | 0 | 0 | 0 | 0 | 626.5652 | 1460 | 0.01 | 1.6
2013-02-07 12:00 | 1700 | 8.7495 | 0.016789 | -40.0076 | 0 | 0 | 0 | 0 | 624.2987 | 1452 | 0.01 | 1.6
2013-02-07 14:00 | 1701 | 8.8066 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 613.0392 | 1452 | 0.01 | 1.7
2013-02-07 16:00 | 1702 | 8.7537 | -0.0030525 | -40.0214 | 0 | 0 | 0 | 0 | 610.1604 | 1460 | 0.01 | 1.7
2013-02-07 18:00 | 1703 | 8.7612 | -0.015263 | -40.0214 | 0 | 0 | 0 | 0 | 609.9319 | 1452 | 0.01 | 1.7
2013-02-07 20:00 | 1704 | 8.7721 | -0.015263 | -40.0137 | 0 | 0 | 0 | 0 | 607.2633 | 1460 | 0.01 | 1.7
2013-02-07 22:00 | 1705 | 8.7587 | -0.0015263 | -40.0092 | 0 | 0 | 0 | 0 | 612.8931 | 1468 | 0.01 | 1.7
2013-02-08 | 1706 | 8.7167 | -0.02442 | -40.0412 | 0 | 0 | 0 | 0 | 632.9352 | 1460 | 0.01 | 1.7
2013-02-08 02:00 | 1707 | 8.6949 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 634.2787 | 1491 | 0.01 | 1.7
2013-02-08 04:00 | 1708 | 8.7293 | 0.0045788 | -40.0153 | 0 | 0 | 0 | 0 | 634.9733 | 1475 | 0.01 | 1.7
2013-02-08 06:00 | 1709 | 8.6974 | -0.0030525 | -40.029 | 0 | 0 | 0 | 0 | 628.7221 | 1468 | 0 | 1.7
2013-02-08 08:00 | 1710 | 8.6328 | -0.0030525 | -40.0397 | 0 | 0 | 0 | 0 | 631.208 | 1460 | 0.01 | 1.8
2013-02-08 10:00 | 1711 | 8.5556 | 0.013736 | -40.0275 | 0 | 0 | 0 | 0 | 613.816 | 1460 | 0.01 | 1.7
2013-02-08 12:00 | 1712 | 8.6076 | -0.0030525 | -40.0275 | 0 | 0 | 0 | 0 | 582.9896 | 1475 | 0.01 | 1.8
2013-02-08 14:00 | 1713 | 8.6655 | 0.019841 | -40.029 | 0 | 0 | 0 | 0.762 | 530.6219 | 1475 | 0.01 | 1.8
2013-02-08 16:00 | 1714 | 8.7318 | 0.0045788 | -40.0153 | 0 | 0 | 0 | 0 | 483.9207 | 1499 | 0.01 | 1.8
2013-02-08 18:00 | 1715 | 8.7201 | -0.0091575 | -39.9985 | 0 | 0 | 0 | 0.254 | 531.9197 | 1507 | 0.01 | 1.8
2013-02-08 20:00 | 1716 | 8.6555 | -0.0091575 | -40.0015 | 0 | 0 | 0 | 0 | 536.8915 | 1523 | 0.01 | 1.8
2013-02-08 22:00 | 1717 | 8.6815 | -0.015263 | -40.0229 | 0 | 0 | 0 | 0 | 556.4859 | 1507 | 0.01 | 1.9
2013-02-09 | 1718 | 8.663 | -0.0091575 | -40.0275 | 0 | 0 | 0 | 0 | 559.2642 | 1499 | 0.01 | 1.9
2013-02-09 02:00 | 1719 | 8.658 | -0.0030525 | -40.0488 | 0 | 0 | 0 | 0 | 588.1166 | 1491 | 0.01 | 1.9
2013-02-09 04:00 | 1720 | 8.6336 | -0.0030525 | -40.0412 | 0 | 0 | 0 | 0 | 633.4014 | 1483 | 0.01 | 1.9
2013-02-09 06:00 | 1721 | 8.5715 | -0.0091575 | -40.0168 | 0 | 0 | 0 | 0 | 649.6326 | 1475 | 0.01 | 1.9
2013-02-09 08:00 | 1722 | 8.4884 | -0.0030525 | -40.0214 | 0 | 0 | 0 | 0 | 667.6552 | 1475 | 0.01 | 1.9
2013-02-09 10:00 | 1723 | 8.1526 | 0.01221 | -40.0275 | 0 | 0 | 0 | 0 | 655.0064 | 1444 | 0.01 | 1.9
2013-02-09 18:00 | 1724 | 8.5623 | -0.0015263 | -39.9924 | 0 | 0 | 0 | 0 | 574.5449 | 1460 | 0.01 | 1.9
2013-02-09 20:00 | 1725 | 8.5824 | -0.015263 | -40.0275 | 0 | 0 | 0 | 0 | 590.9224 | 1468 | 0.01 | 1.9
2013-02-09 22:00 | 1726 | 8.5119 | -0.0015263 | -40.0153 | 0 | 0 | 0 | 0 | 608.8261 | 1475 | 0.01 | 1.9
2013-02-10 | 1727 | 8.4901 | -0.0030525 | -40.0595 | 0 | 0 | 0 | 0 | 613.3774 | 1475 | 0.01 | 2
2013-02-10 02:00 | 1728 | 8.4573 | -0.0076313 | -40.0214 | 0 | 0 | 0 | 0 | 633.968 | 1468 | 0.01 | 2
2013-02-10 04:00 | 1729 | 8.3339 | -0.0091575 | -40.0412 | 0 | 0 | 0 | 0 | 626.5652 | 1452 | 0.01 | 2
2013-02-10 06:00 | 1730 | 8.0687 | -0.0091575 | -40.0153 | 0 | 0 | 0 | 0 | 628.9689 | 1452 | 0.01 | 2
2013-02-10 16:00 | 1731 | 8.3952 | -0.015263 | -40.0305 | 0 | 0 | 0 | 0 | 558.789 | 1437 | 0.01 | 2
2013-02-10 18:00 | 1732 | 8.3952 | -0.0091575 | -40.0031 | 0 | 0 | 0 | 0 | 568.0927 | 1437 | 0.01 | 2
2013-02-10 20:00 | 1733 | 8.3658 | -0.015263 | -40.0153 | 0 | 0 | 0 | 0 | 582.3315 | 1452 | 0.01 | 2
2013-02-10 22:00 | 1734 | 8.318 | -0.0030525 | -40.0473 | 0 | 0 | 0 | 0 | 580.394 | 1452 | 0.01 | 2
2013-02-11 | 1735 | 8.2466 | -0.021368 | -40.0229 | 0 | 0 | 0 | 0.254 | 563.322 | 1468 | 0 | 2
2013-02-11 02:00 | 1736 | 8.0914 | -0.0091575 | -40.0275 | 0 | 0 | 0 | 0 | 552.4281 | 1452 | 0.01 | 2
2013-02-11 04:00 | 1737 | 7.9931 | 0.019841 | -40.0412 | 0 | 0 | 0 | 0.254 | 510.4608 | 1460 | 0.01 | 2
2013-02-11 06:00 | 1738 | 7.7656 | -0.0030525 | -40.0137 | 0 | 0 | 0 | 0 | 493.855 | 1460 | 0.01 | 2
2013-02-11 08:00 | 1739 | 7.5701 | 0.01221 | -40.0351 | 0 | 0 | 0 | 0 | 471.6741 | 1483 | 0.01 | 2.1
2013-02-11 10:00 | 1740 | 7.4366 | -0.0091575 | -40.0031 | 0 | 0 | 0 | 0 | 464.509 | 1491 | 0.01 | 2.1
2013-02-11 12:00 | 1741 | 7.2914 | -0.015263 | -40.0458 | 0 | 0 | 0 | 0 | 425.0185 | 1483 | 0.01 | 2.2
2013-02-11 14:00 | 1742 | 7.1529 | -0.0015263 | -40.0412 | 0 | 0 | 0 | 0 | 410.3684 | 1491 | 0.01 | 2.5
2013-02-11 16:00 | 1743 | 6.9615 | -0.015263 | -40.0351 | 0 | 0 | 0 | 0 | 416.5739 | 1483 | 0.01 | 3
2013-02-11 18:00 | 1744 | 6.7096 | -0.015263 | -40.0198 | 0 | 0 | 0 | 0 | 427.9522 | 1491 | 0.01 | 3.4
2013-02-11 20:00 | 1745 | 6.5888 | -0.015263 | -40.0916 | 0 | 0 | 0 | 0 | 436.543 | 1491 | 0.01 | 3.7
2013-02-11 22:00 | 1746 | 6.4234 | -0.0091575 | -40.0092 | 0 | 0 | 0 | 0 | 502.0894 | 1491 | 0.01 | 3.9

## VA all data ETo
VA Ragged Mtn. weather station | [7 empty] | Key:
ETo | [7 empty] | missing data
test data (maintenance)
data collected every 2 hr instead of every day
bad data
suspect data
data download
TOA5 | CR200Series_2 | CR2xx | No_SN | CR200X.Std.00 | CZO_ETo_Soil.CR2 | 22532 | CZO_ETo
TIMESTAMP | RECORD | BattV_Min | Air_TC_Avg | RH_Avg | Wind_SPD_Avg | Solar_Rad_Avg | ETo
TS | RN | Volts | Deg C | % | M/S | W/m2
|  | Min | Avg | Avg | Avg | Avg | ETo
2013-01-01 | 108 | 11.3769 | -40.0248 | -0.010481 | 0 | 720.2501 | 5.2746e+36
2013-01-02 | 109 | 11.4021 | -40.0265 | -0.010952 | 0 | 675.9393 | 5.2737e+36
2013-01-03 | 110 | 11.3752 | -40.0253 | -0.010117 | 0 | 707.3973 | 5.2743e+36
2013-01-04 | 111 | 11.3526 | -40.0249 | -0.0097904 | 0 | 731.3929 | 5.2745e+36
2013-01-05 | 112 | 11.34 | -40.0251 | -0.010172 | 0 | 728.7682 | 5.2745e+36
2013-01-06 | 113 | 11.3308 | -40.026 | -0.010495 | 0 | 698.8904 | 5.2741e+36
2013-01-07 | 114 | 11.3442 | -40.0259 | -0.010445 | 0 | 691.4949 | 5.2741e+36
2013-01-08 | 115 | 11.319 | -40.0259 | -0.010276 | 0 | 689.4608 | 5.274e+36
2013-01-09 | 116 | 11.3224 | -40.0266 | -0.010868 | 0 | 662.5024 | 5.2736e+36
2013-01-10 | 117 | 11.3274 | -40.0275 | -0.011127 | 0 | 603.0327 | 5.2732e+36
2013-01-11 | 118 | 11.314 | -40.0268 | -0.01097 | 0 | 621.6752 | 5.2735e+36
2013-01-12 | 119 | 11.2955 | -40.027 | -0.010802 | 0 | 624.7788 | 5.2735e+36
2013-01-13 | 120 | 11.3148 | -40.0293 | -0.012467 | 0 | 486.1737 | 5.1993e+36
2013-01-14 | 121 | 11.303 | -40.0294 | -0.012148 | 0 | 481.1294 | 5.2499e+36
2013-01-15 | 122 | 11.2518 | -40.0286 | -0.011739 | 0 | 500.698 | 5.2726e+36
2013-01-16 | 123 | 11.2116 | -40.026 | -0.010837 | 0 | 599.7592 | 5.274e+36
2013-01-17 | 124 | 11.2048 | -40.0261 | -0.010539 | 0 | 587.2551 | 5.2739e+36
2013-01-18 | 125 | 11.1662 | -40.0256 | -0.010772 | 0 | 619.6852 | 5.2742e+36
2013-01-19 | 126 | 11.1486 | -40.0251 | -0.010737 | 0 | 651.9987 | 5.2745e+36
2013-01-20 | 127 | 11.1385 | -40.0261 | -0.011216 | 0 | 615.4664 | 5.2738e+36
2013-01-21 | 128 | 11.1276 | -40.0273 | -0.010996 | 0 | 623.2117 | 5.2732e+36
2013-01-22 | 129 | 11.0856 | -40.0253 | -0.010378 | 0 | 688.3517 | 5.2743e+36
2013-01-23 | 130 | 11.0814 | -40.024 | -0.0091829 | 0 | 772.0557 | 5.2751e+36
2013-01-24 | 131 | 11.2023 | -40.0234 | -0.0090589 | 0 | 764.5028 | 5.2754e+36
2013-01-25 | 132 | 11.188 | -40.0239 | -0.0094097 | 0 | 758.84 | 5.2752e+36
2013-01-26 | 133 | 11.0873 | -40.0235 | -0.009299 | 0 | 765.839 | 5.2755e+36
2013-01-27 | 134 | 10.8288 | -40.0244 | -0.010101 | 0 | 689.4053 | 5.2748e+36
2013-01-28 | 135 | 8.2466 | -40.0242 | -0.0097148 | 0 | 710.3265 | 5.275e+36
2013-01-29 | 136 | 8.4918 | -40.0267 | -0.010999 | 0 | 599.0118 | 5.2736e+36
2013-01-30 | 137 | 10.8539 | -40.0296 | -0.011841 | 0 | 466.075 | 4.8939e+36
2013-01-31 | 138 | 10.5635 | -40.0296 | -0.011458 | 0 | 418.8091 | 4.617e+36
2013-02-01 | 139 | 9.1482 | -40.0255 | -0.010291 | 0 | 593.6136 | 5.1908e+36
2013-02-06 | 140 | 8.9828 | -40.0258 | -0.010372 | 0 | 546.9187 | 3.2639e+36
2013-02-07 | 141 | 8.8292 | -40.0256 | -0.010322 | 0 | 560.7543 | 5.3856e+36
2013-02-08 | 142 | 8.6915 | -40.0251 | -0.010597 | 0 | 619.0054 | 5.4097e+36
2013-02-09 | 143 | 8.4632 | -40.0247 | -0.010644 | 0 | 580.4711 | 5.5369e+36
2013-02-10 | 144 | 8.4246 | -40.0239 | -0.0076806 | 0 | 597.7921 | -1.2679e+34
2013-02-11 | 145 | 8.1812 | -40.0245 | -0.0087175 | 0 | 575.0647 | 1.6228e+36